## 01
Приложение № 3
к договору № _________ от __________201_ г.
Перечень объектов
для оказания услуг по сервисному обслуживанию и ремонту оборудования системы АСДУ/АСТУЭ ОАО "СН-МНГ"
Месторождение | Наименование объекта | Тип узла учета | Кол-во узлов учета | Измерительные преобразователи | Кол-во измерительных преобразователей | Тип контроллера | Кол-во контроллеров, шт.
Ватинское м/р
Ватинское м/р | ПС 35/6кВ "КНС-3В"
|  | МИР C-01 СЭТ-ТМ.03 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КНС-4"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КНС-6В"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КНС-8"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-78"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-28"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-30"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КНС-53"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-120"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-124"
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-150"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-211"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "БПТОиКО"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "ДНС-1"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "ДНС-2В"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Кондратьевская"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КРС"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-93"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 110кВ "Ватинская"
|  | СЭТ-ТМ.03 | 6 | МИР ПТ-02,00, МИР ПН-23.080 | 13 | Омь-1 | 1
Ватинское м/р | ПС 110кВ "Мартыновская"
|  | МИР С-01 | 26 | МИР ПТ-02,00, МИР ПН-23.080 | 33 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "ВЦТП"
|  | МИР С-01 | 9 | МИР ПТ-02,00, МИР ПН-23.080 | 16 | Омь-1 | 1
Ватинское м/р | РУ-6кВ "КНС-4"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Ватинское м/р | РУ-6кВ "Северо-Ватинская"
|  | МИР С-01 СЭТ-ТМ.03 | 32 | МИР ПТ-02,00, МИР ПН-23.080 | 39 | Омь-1 | 1
Ватинское м/р | ПС 110кВ "Северо-Ватинская"
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КНС-5"
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "Куст-64"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Ватинское м/р | ПС 35/6кВ "КНС-7"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Южная"
|  | МИР С-01 | 17 | МИР ПТ-02,00, МИР ПН-23.080 | 24 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Юкишевская"
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
Сев. Покурское м/р | ПС220/110/35кВ "Кирьяновская"
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
Сев. Покурское м/р | ПС35/6кВ "Куст-47"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС35/6кВ "Куст-99" НГП-1
|  | МИР С-01 | 9 | МИР ПТ-02,00, МИР ПН-23.080 | 16 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ДНС-1
|  | МИР С-01 | 20 | МИР ПТ-02,00, МИР ПН-23.080 | 27 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ДНС-2
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-3
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-8
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-9
|  | МИР С-01 | 8 | МИР ПТ-02,00, МИР ПН-23.080 | 15 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-1 СВ
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-10
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-7
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ БКНС
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
Аганское м/р
Аганское м/р | РУ-6кВ №1
|  | МИР С-01 | 22 | МИР ПТ-02,00, МИР ПН-23.080 | 29 | Омь-1 | 1
ЗРУ-6кВ "Лысенковское"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
ПС 35/6кВ Куст-67
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ Куст-86
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ КНС-3А
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ Малоаганская
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ Куст-69
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ Куст-9б
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ Куст-106
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
ПС 35/6кВ КНС-1А
|  | МИР С-01 | 19 | МИР ПТ-02,00, МИР ПН-23.080 | 26 | Омь-1 | 1
ПС 35/6кВ Куст-103
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
ПС 35/6кВ Промысловая-1
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС110/35/6,РУ-6 Январская
|  | МИР С-01 СЭТ-ТМ.03 | 33 | МИР ПТ-02,00, МИР ПН-23.080 | 40 | Омь-1 | 1
ПС 35/6кВ Промысловая-2
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ КНС-2А
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
ПС 35/6кВ КНС-1бис
|  | МИР С-01 | 8 | МИР ПТ-02,00, МИР ПН-23.080 | 15 | Омь-1 | 1
ПС 35/6кВ Куст-111
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
ПС 35/6кВ Куст-114
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
ПС 35/6кВ Куст-115
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
ПС 110/35/6,КРУН6кВ Аганское
|  | МИР С-01 СЭТ-ТМ.03 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
ПС 35/6кВ Куст-69бис
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
ПС 35/6кВ Промысловая-2 новая
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
ПС 110/35/6кВ Лысенковская
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
ПС 35/6кВ Куст-113
РУ-6кВ №3
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
РУ-6кВ ДНС-1
|  | МИР С-01 | 17 | МИР ПТ-02,00, МИР ПН-23.080 | 24 | Омь-1 | 1
РУ-6кВ ДНС-3
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
РУ-6кВ КНС-2
|  | МИР С-01 | 24 | МИР ПТ-02,00, МИР ПН-23.080 | 31 | Омь-1 | 1
Покамасовское м/р
Покамасовское м/р | ПС 35/6кВ "Надежда"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "Сапарка"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Покамасовское м/р | ПС 110, РУ-6кВ "Покамасовское"
|  | МИР С-01 СЭТ-ТМ.03 | 29 | МИР ПТ-02,00, МИР ПН-23.080 | 36 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "Пеньковская"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ ГТЭС "Покамасы"
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "Куст-51"
|  | МИР С-01 | 9 | МИР ПТ-02,00, МИР ПН-23.080 | 16 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ Кирпичный завод
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Покамасовское м/р | РУ-6кВ КНС-1
|  | МИР С-01 | 14 | МИР ПТ-02,00, МИР ПН-23.080 | 21 | Омь-1 | 1
Покамасовское м/р | РУ-6кВ МДНС
|  | МИР С-01 | 8 | МИР ПТ-02,00, МИР ПН-23.080 | 15 | Омь-1 | 1
Кетовское м/р
Кетовское м/р | ПС 35/6кВ "Куст-10"
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Кетовское м/р | РУ-6кВ "Кетовское"
|  | МИР С-01 СЭТ-ТМ.03 | 33 | МИР ПТ-02,00, МИР ПН-23.080 | 40 | Омь-1 | 1
Кетовское м/р | ПП 110кВ "Кетовская"
|  | МИР С-01 СЭТ-ТМ.03 | 6 | МИР ПТ-02,00, МИР ПН-23.080 | 13 | Омь-1 | 1
Кетовское м/р | РУ-6кВ КНС
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р
Сев. Покурское м/р | ПС 35/6кВ "КНС-2"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Западная"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ 6кВ "КНС-2А"
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
Сев. Покурское м/р | РУ 6кВ "КНС-1"
Сев. Покурское м/р | ПС 35/6кВ "КНС-2бис"
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
Сев. Покурское м/р | КРУН6кВ "Мартовская"
|  | МИР С-01 СЭТ-ТМ.03 | 22 | МИР ПТ-02,00, МИР ПН-23.080 | 29 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-50"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-43"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 110/35/6кВ "Мартовская"
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-37"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-41"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ 6кВ "С.Покурское"
|  | СЭТ-ТМ.03 | 19 | МИР ПТ-02,00, МИР ПН-23.080 | 26 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-25"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-27"
|  | МИР С-01 СЭТ-ТМ.03 | 25 | МИР ПТ-02,00, МИР ПН-23.080 | 32 | Омь-1 | 1
Сев. Покурское м/р | РУ 6кВ "КНС-10"
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ "КНС-2"
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-4"
|  | МИР С-01 СЭТ-ТМ.03 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 110/35/6кВ "Еловая"
|  | МИР С-01 СЭТ-ТМ.03 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 110/35/6кВ "Северо-Покурская"
|  | СЭТ-ТМ.03 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Курья"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Протока"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-1бис
|  | МИР С-01 | 17 | МИР ПТ-02,00, МИР ПН-23.080 | 24 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ДНС-1
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-1А
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ Протока
|  | МИР С-01 | 19 | МИР ПТ-02,00, МИР ПН-23.080 | 26 | Омь-1 | 1
Западно-Усть-Балыкское м/р
ПС 35/6кВ "Касаев"
|  | СЭТ-4ТМ | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
ЗРУ ДНС-1
|  | СЭТ-4ТМ | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
ПС 35/6кВ "Куст-1"
Мегионское м/р (Баграс)
Сев. Покурское м/р | ПС 35/6кВ "КНС-3Мр"
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Новая"
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-13"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Баграс"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "КНС-3М"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Насыровская"
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-8"
|  | МИР С-01 СЭТ-ТМ.03 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 110/35/6кВ "Баграс"
|  | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Сев. Покурское м/р | ПС 110/35/6кВ "Таежная"
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ №2
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ГУ-4
|  | МИР С-01 | 14 | МИР ПТ-02,00, МИР ПН-23.080 | 21 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-3А
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ МБКНС-1
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
Ново-покурское м/р
Сев. Покурское м/р | ПС 35/6кВ "Куст-1"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Кедровая"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | ПС110, РУ-6кВ "Ново-Покурская"
|  | МИР С-01 СЭТ-ТМ.03 | 42 | МИР ПТ-02,00, МИР ПН-23.080 | 49 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-78"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "УПН"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "БКНС-2"
|  | СЭТ-ТМ.03 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ГТЭС "Ново-покурская"
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ "УПН"
|  | МИР С-01 | 22 | МИР ПТ-02,00, МИР ПН-23.080 | 29 | Омь-1 | 1
Южно-Локосовское м/р
ПЛУ 35 кВ "Южно-Локосовское"
|  | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "КНС Ю-Л"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "Куст-109"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "Куст-110"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Покамасовское м/р | РУ-6кВ "КНС Ю-Л"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Южно-Покамасовское м/р
ПЛУ 35 кВ "Южно-Покамасовское"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Северо-Островное м/р
Покамасовское м/р | ПС 35/6кВ "Куст-115"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Покамасовское м/р | ПС 35/6кВ "С-Островная"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Северо-Ореховское м/р
Кетовское м/р | ПС 110/35/6кВ "Заобье"
|  | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "ЦПС-1"
|  | МИР С-01 | 9 | МИР ПТ-02,00, МИР ПН-23.080 | 16 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "ЦПС-2"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "Куст-17"
Кетовское м/р | ПС 35/6кВ "Куст-15"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-224"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Чимстинное и Ачимовское м/р
Сев. Покурское м/р | ПС 110/35/6кВ "Чистинная"
|  | СЭТ-4ТМ | 28 | МИР ПТ-02,00, МИР ПН-23.080 | 30 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Ачимовская-1"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Ачимовска-2"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-4"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Куст-6"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ДНС-1
|  | МИР С-01 | 19 | МИР ПТ-02,00, МИР ПН-23.080 | 26 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС-1
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ДНС
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Аригольское м/р
Сев. Покурское м/р | ПС 35/6кВ "Аригольская-1"
|  | МИР С-01 | 14 | МИР ПТ-02,00, МИР ПН-23.080 | 21 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Аригольская-2"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС
|  | МИР С-01 | 17 | МИР ПТ-02,00, МИР ПН-23.080 | 24 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ УПН-1
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Максимкинское м/р
Сев. Покурское м/р | ПС 35/6кВ "Максимкинская"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Город
Сев. Покурское м/р | ПС 35/10кВ "ЛПХ"
|  | МИР С-01 | 6 | МИР ПТ-02,00, МИР ПН-23.080 | 13 | Омь-1 | 1
Сев. Покурское м/р | РУ№2
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
Сев. Покурское м/р | РУ№3
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/10кВ "Куст-220"
|  | МИР С-01 | 18 | МИР ПТ-02,00, МИР ПН-23.080 | 25 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Мегион"
|  | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Сев. Покурское м/р | ПП 110кВ "Вахская"
|  | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Сев. Покурское м/р | ПП 110кВ "Восточная"
|  | МИР С-01 | 3 | МИР ПТ-02,00, МИР ПН-23.080 | 10 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Геолог"
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Город"
|  | МИР С-01 | 6 | МИР ПТ-02,00, МИР ПН-23.080 | 13 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Заречная"
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Котельная"
|  | МИР С-01 | 10 | МИР ПТ-02,00, МИР ПН-23.080 | 17 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "Северная"
|  | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ №4
|  | МИР С-01 | 42 | МИР ПТ-02,00, МИР ПН-23.080 | 49 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ БКНС
|  | МИР С-01 | 15 | МИР ПТ-02,00, МИР ПН-23.080 | 22 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ ДНС-1 Сев-Ореховское
|  | МИР С-01 | 19 | МИР ПТ-02,00, МИР ПН-23.080 | 26 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ КНС
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
Южно-Аганское м/р
Аганское м/р | ПС 35/6кВ "Восточно-Аганская"
|  | МИР С-01 | 11 | МИР ПТ-02,00, МИР ПН-23.080 | 18 | Омь-1 | 1
ПС 35/6кВ Западно-Аганская
|  | МИР С-01 | 12 | МИР ПТ-02,00, МИР ПН-23.080 | 19 | Омь-1 | 1
ПС 35/6кВ Куст-11
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Аганское м/р | КРУН 6кВ "Южно-Аганская"
|  | МИР С-01 | 27 | МИР ПТ-02,00, МИР ПН-23.080 | 34 | Омь-1 | 1
ПС110/ 35/6кВ Южно-Аганская
|  | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Мыхпайское м/р
Сев. Покурское м/р | ПС 35/6кВ "Мыхпай"
|  | МИР С-01 | 16 | МИР ПТ-02,00, МИР ПН-23.080 | 23 | Омь-1 | 1
Сев. Покурское м/р | РУ 6кВ "ДНС-2М"
|  | МИР С-01 | 13 | МИР ПТ-02,00, МИР ПН-23.080 | 20 | Омь-1 | 1
Сев. Покурское м/р | ПС 35/6кВ "ДНС-2М"
|  | МИР С-01 | 9 | МИР ПТ-02,00, МИР ПН-23.080 | 16 | Омь-1 | 1
Сев. Покурское м/р | РУ-6кВ "Мыхпай"
|  | МИР С-01 | 14 | МИР ПТ-02,00, МИР ПН-23.080 | 21 | Омь-1 | 1
Узунское
Кетовское м/р | ПС 35/6кВ "ДНС" | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "Кысомская" | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 4 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "Куст-8" | МИР С-01 | 1 | МИР ПТ-02,00, МИР ПН-23.080 | 2 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "Малочерногорская" | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 4 | Омь-1 | 1
Заподно-Асомкинское
Кетовское м/р | ПС 35/6кВ "КП-185" | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "КП-186" | МИР С-01 | 4 | МИР ПТ-02,00, МИР ПН-23.080 | 11 | Омь-1 | 1
Кетовское м/р | ПС 35/6кВ "КП-187" | МИР С-01 | 2 | МИР ПТ-02,00, МИР ПН-23.080 | 9 | Омь-1 | 1
Заказчик: |  |  |  |  | Исполнитель:
ОАО "СН-МНГ"
Генеральный директор |  |  |  |  | Генеральный директор
(должность иного уполномоченного на основании Доверенности) |  |  |  |  | (должность иного уполномоченного на основании Доверенности)
Ф.И.О. |  |  |  |  | Ф.И.О.
"____"____________ 20___ г. |  |  |  |  | "____"____________ 20___ г.

## Сводная
| 2013-03-01 | 2013-03-02 | 2013-03-03 | 2013-03-04 | 2013-03-05 | 2013-03-06 | 2013-03-07 | 2013-03-08 | 2013-03-09 | 2013-03-10 | 2013-03-11 | 2013-03-12 | 2013-03-13 | 2013-03-14 | 2013-03-15 | 2013-03-16 | 2013-03-17 | 2013-03-18 | 2013-03-19 | 2013-03-20 | 2013-03-21 | 2013-03-22 | 2013-03-23 | 2013-03-24 | 2013-03-25 | 2013-03-26 | 2013-03-27 | 2013-03-28 | 2013-03-29 | 2013-03-30 | 2013-03-31
КП
В работе | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Неиспр | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Откл | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ИТОГО | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Счетчики
В работе | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Неиспр | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Откл | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ИТОГО | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ПИ/БМРЗ
В работе | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Неиспр | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Откл | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ИТОГО | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
КП+счетчики
В работе | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Неиспр | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Откл | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
План | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!